| To be completed and submitted for approval at least 2 working days before work commences |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Permit Number |  |  |  |  |  |  |
| 1. Contractor / Ports North to complete this section. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of Works: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building / Facility: |  |  |  |  |  | Location: |  |  |  |  |  |  |  |  |
| Ports North Representative Name (please print): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mobile Number: |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |
| Contractor Name: |  |  |  |  | Mobile No: |  |  |  |  |  |  |  | QBCC No: |  |
| Supervisor Name: |  |  |  |  | Email: |  |  |  |  |  |  |  |  |  |
| Type of equipment to be used: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Start Date: |  |  |  |  | Permit Finish Date: |  |  |  |  |  |  |  |  |  |

| 2.1 Work Activities Contractor MUST complete this section. Where a work activity (1-23) is applicable to this Permit to Work a specific Safe Work Method Statement (SWMS) must be prepared and attached | Please Indicate below activities applicable. Y – Applicable N – Not Applicable | SWMS Attached Y/N | Minimum Ports North Permit Approval Level |
| --- | --- | --- | --- |
| - Will structural or Fire/Smoke Zone penetration be required? |  |  | 1 |
| - Will work in ceiling, wall, floor spaces or other confined spaces be required? |  |  | 1 |
| - Are works within 6m of overhead power lines? |  |  | 1 |
| - Is the work on, near or requiring connection or supply from high voltage energized electrical installations (both above ground and below ground)? |  |  | 3 |
| - Is the work on or near low voltage energized electrical installations (both above ground and below ground)? |  |  | 1 |
| - Is there potential for release of harmful materials? |  |  | 2 |
| - Is the work to be carried out on or near chemical, fuel or gas lines? |  |  | 3 |
| - Will ground penetration (Inc. excavation and trenching) work be undertaken (> 1 metre)? |  |  | 1 |
| - Is there excavation or trenching work that may reduce stability of a building, structure or driveway? |  |  | 3 |
| - Are works in the vicinity of services? |  |  | 1 |
| - Is the work to be carried out on, in or adjacent to a road, railway, shipping lane or other traffic corridor that is in use by traffic other than pedestrians? |  |  | 1 |
| - Will there be significant demolition works undertaken? |  |  | 2 |
| - Will there be work on or near asbestos (including removal)? |  |  | 2 |
| - Will the work require structural alterations requiring temporary support? |  |  | 2 |
| - Will there be works at heights > 2 meters? |  |  | 1 |
| - Are any of the works on or near contaminated or flammable atmospheres? |  |  | 2 |
| - Is the work involving movement of powered mobile plant? |  |  | 1 |
| - Will any works be carried out on or near water (or other liquid) that involves risk of drowning, tidal entrapment? |  |  | 1 |
| - Will works be carried out from a vessel? |  |  | 1 |
| - Will work involve diving work (both inspections and construction work) |  |  | 2 |
| - Will work involve processes, equipment or activities involving hot work (may produce spark, flame or another ignition source)? Additional Hot Work Permit to be attached. |  |  | 1 |
| - Will crane works be required? |  |  | 1 |
| - Other….. |  |  |  |

PN Comments (if required)

| 2.2 Isolations / Disconnections / PN Assets Contractor MUST complete this section. | Applicable? |  | Details |
| --- | --- | --- | --- |
|  | YES | NO |  |
| - Are sewer or drainage isolations/ disconnection required? |  |  |  |
| - Will Fire Systems Isolation be required? |  |  |  |
| - Will water shut down be required? |  |  |  |
| - Will electrical isolation be required? |  |  |  |
| - Are works requiring a Ports North access card to be issued? |  |  | If Yes – provide details of areas to be accessed |

| 3. Contractor Acknowledgement |  |  |  | YES | NO | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| - Contractor will ensure that an Operational Permit to Work is completed when carrying out work on either wharf, pontoon, or vessel. |  |  |  |  |  |  |
| - Copies of Safety Data Sheets will be readily available at the location where work is being carried out |  |  |  |  |  |  |
| - All equipment/plant is registered as required by legislation |  |  |  |  |  |  |
| - All equipment/plant is in good working condition and has it been regularly maintained and serviced as per manufacturer specifications |  |  |  |  |  |  |
| - Contractor will ensure that adequate controls (e.g. barricading, spotter) are implemented to protect the public and other people from the activities being undertaken. |  |  |  |  |  |  |
| - Contractor will confirm that all workers / contractors have read, understood and agree to abide by the Ports North “Health, Safety & Site Rules” available on Ports North website |  |  |  |  |  |  |
| - Contractor will ensure all contractor workers / subcontractors have the necessary competencies, license and qualifications to undertake the works proposed |  |  |  |  |  |  |
| - Contractor will ensure that all workers / subcontractors have read, understood and agree to abide to the SWMS’s applicable to this work. |  |  |  |  |  |  |
| - Contractor shall ensure that all workers / subcontractors are aware of the emergency procedures relevant to the area of work and that on the sound of evacuation alarms they shall evacuate to evacuation point. |  |  |  |  |  |  |
| Contractor Representative Name (please print) |  |  |  |  |  |  |
| Signature |  | Date |  |  |  |  |

| 4. Ports North Permit Approval |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ports North Permit Approval Level Required |  | 1 2 3 Circle approval level required |  |  |
| Approval |  |  |  |  |
| Level | Name (Please Print) |  | Signature | Date |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

| Approval Level Positions |  |
| --- | --- |
| Level | Positions applicable to approval level |
| 1 | Technical Officer – Buildings and Services; Technical Officer – Electrical Plant, Plant& Maintenance Coordinator, Senior Technical Officer Infrastructure |
| 2 | Project Engineer, Senior Project Engineer, Facilities and Maintenance Manager, Environmental Manager; Manager Sustainability and External Policy |
| 3 | General Manager Infrastructure & Sustainability; Senior Engineer, Manager Assets |

| 5. Completion of Works – Permit Closed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| The Contractor certifies that the works associated with this permit are complete with the site left clean and in a safe condition. |  |  |  |  |  |
| Comments |  |  |  |  |  |
| Contractor Representative Name (please print) |  |  |  |  |  |
| Contractor |  |  |  |  |  |
| Signature |  | Date |  | Time |  |
| PN Representative (Contractor unavailable to sign) |  |  |  |  |  |
| Signature |  | Date |  | Time |  |

*** Completed Permit to Work to be forwarded to Ports North Officer/ Representative initiating the work ***